## Slide 1: Introduction to Control Engineering I
Control Engineering I

## Slide 2: Why Control?
Photo © Hank Morgan/Rainbow/PNI.
Rover was build to work
in contaminated areas
Control Engineering I

## Slide 3
Robots used in surface mining,
planetary exploration
Control Engineering I

## Slide 4
Mobile robots lead-follow example
Control Engineering I

## Slide 5: Why Control?
Modern society have sophisticated control systems which are crucial to their successful operation.
Reasons to build control systems:
  Power amplification
  Remote control
  Convenience of input form
  Compensation for disturbance
Control Engineering I
Notes: <number>
We are not only creators of automatically controlled systems; these systems also exist in nature.
Examples:
Radar antenna (input is a low-power rotation of a knob, and output is a rotation which needs a large amount of power.)
Robots
Temperature control (input: position on thermostat, output is heat)
Power system transient stability.

## Slide 6: What is a Control System?
Simplified description of a control system
Control Engineering I

## Slide 7: Dynamic Response
Response
Control Engineering I

## Slide 8: Block diagrams of control systems: a. open-loop system; b. closed-loop system
Control Engineering I

## Slide 9: Feedback
Feedback is a key tool that can be used to modify the behavior of a system.
This behavior altering effect of feedback is a key mechanism that control engineers exploit deliberately to achieve the objective of acting on a system to ensure that the desired performance specifications are achieved.
Control Engineering I
Notes: <number>
Feedback is a very heart of control. Three examples are given for feedback systems in the book. Students are encouraged to read Section 1.2.

## Slide 10: Closed-loop control with sensor feedback
Controller
Plant
Measurement and signal
transmission system
r(t)
+
_
u(t)
y(t)
e(t)
Control Engineering I

## Slide 11: Response of a position control system showing effect of high and low controller gain on the output response
Control Engineering I

## Slide 12: What is the Control System Engineer trying to achieve?
First, understand the broader picture of the
application to best apply a suitable control system.
A good control system is a system that will
  generate a response quickly and without oscillation (good transient response),
  have low error once settled (good steady-state response),
  and will not oscillate wildly or damage that system (stability).
Control Engineering I