## Slide 1: Block Diagram fundamentals
Control Engineering I

## Slide 2: Introduction
Block diagram is a shorthand, graphical representation of a physical system, illustrating the functional relationships among its components.
OR
A Block Diagram is a shorthand pictorial representation of the cause-and-effect relationship of a system.
Control Engineering I
Notes: A cause-effect relationship is a relationship in which one event (the cause) makes another event happen (the effect). The loud sound of the alarm was the cause. Without the alarm, you probably would have overslept. In this scenario the alarm had the effect of you waking up at a certain time.
<number>

## Slide 3: Introduction
The simplest form of the block diagram is the single block, with one input and one output.
The interior of the rectangle representing the block usually contains a description of or the name of the element, or the symbol for the mathematical operation to be performed on the input to yield the output.
The arrows represent the direction of information or signal flow.
Control Engineering I

## Slide 4: Introduction
The operations of addition and subtraction have a special representation.
The block becomes a small circle, called a summing point, with the appropriate plus or minus sign associated with the arrows entering the circle.
Any number of inputs may enter a summing point.
The output is the algebraic sum of the inputs.
Some books put a cross in the circle.
Control Engineering I

## Slide 5: Components of a Block Diagram for a Linear Time Invariant System
System components are alternatively called elements of the system.
Block diagram has four components:
  Signals
  System/ block
  Summing junction
  Pick-off/ Take-off point
Control Engineering I

## Slide 6
Control Engineering I

## Slide 7
In order to have the same signal or variable be an input to more than one block or summing point, a takeoff point is used.
Distributes the input signal, undiminished, to several output points.
This permits the signal to proceed unaltered along several different paths to several destinations.
Control Engineering I

## Slide 8: Example 1
Consider the following equations in which x1, x2, x3, are variables, and a1, a2 are general coefficients or mathematical operators.
Control Engineering I

## Slide 9: Example 1
Consider the following equations in which x1, x2, x3, are variables, and a1, a2 are general coefficients or mathematical operators.
Control Engineering I

## Slide 10: Example 2
Consider the following equations in which x1, x2,. . . , xn, are variables, and a1, a2,. . . , an , are general coefficients or mathematical operators.
Control Engineering I

## Slide 11: Example 3
Draw the Block Diagrams of the following equations.
Control Engineering I

## Slide 12: Topologies
We will now examine some common topologies for interconnecting subsystems and derive the single transfer function representation for each of them.
These common topologies will form the basis for reducing more complicated systems to a single block.
Control Engineering I
Notes: Topolgy: the way in which constituent parts are interrelated or arranged
<number>

## Slide 13: CASCADE
Any finite number of blocks in series may be algebraically combined by multiplication of transfer functions.
That is, n components or blocks with transfer functions G1 , G2, . . . , Gn, connected in cascade are equivalent to a single element G with a transfer function given by
Control Engineering I

## Slide 14: Example
Multiplication of transfer functions is commutative; that is,
GiGj = GjGi
for any i or j .
Control Engineering I

## Slide 15: Cascade:
Figure:
a) Cascaded Subsystems.
b) Equivalent Transfer Function.
The equivalent transfer function is
Control Engineering I

## Slide 16: Parallel Form:
Parallel subsystems have a common input and an output formed by the algebraic sum of the outputs from all of the subsystems.
Figure: Parallel Subsystems.
Control Engineering I

## Slide 17: Parallel Form:
Figure:
a) Parallel Subsystems.
b) Equivalent Transfer Function.
The equivalent transfer function is
Control Engineering I

## Slide 18: Feedback Form:
The third topology is the feedback form. Let us derive the transfer function that represents the system from its input to its output. The typical feedback system, shown in figure:
Figure: Feedback (Closed Loop) Control System.
The system is said to have negative feedback if the sign at the summing junction is negative and positive feedback if the sign is positive.
Control Engineering I

## Slide 19: Feedback Form:
Figure:
Feedback Control System.
Simplified Model or Canonical Form.
c) Equivalent Transfer Function.
The equivalent or closed-loop
transfer function is
Control Engineering I

## Slide 20: Characteristic Equation
The control ratio is the closed loop transfer function of the system.
The denominator of closed loop transfer function determines the characteristic equation of the system.
Which is usually determined as:
Control Engineering I
Notes: Refer to Nise-5th edition
<number>

## Slide 21: Canonical Form of a Feedback Control System
The system is said to have negative feedback if the sign at the summing junction is negative and positive feedback if the sign is positive.
Control Engineering I

## Slide 22
  Open loop transfer function
  Feed Forward Transfer function
  control ratio
  feedback ratio
  error ratio
  closed loop transfer function
  characteristic equation
  closed loop poles and zeros if K=10.
Control Engineering I

## Slide 23: Characteristic Equation
Control Engineering I

## Slide 24: Unity Feedback System
Control Engineering I