## Slide 1: POWER SYSTEM ANALYSIS 2017 - 2018
Lecturer : Nesrullah salman khelef
Department of Electrical Power Engineering
College of Engineering
University of Diyala – IRAQ
Ref-1: Hadi Saadat, Power System Analysis
Ref-2: Professor Ali Keyhani Lectures
dr.Nasrallah@engineering.uodiyala.edu.iq
http://www.engineering.uodiyala.edu.iq
Part – 2
Gen-Tr-PU
4th Year’s Lectures

## Slide 2: Lecture Outline
Generator Model
Transformer Model
Per Unit System

## Slide 3: Steady State Characteristics of Cylindrical Rotor Generator
Power Factor Control
=3V
cd=

## Slide 4: Power Angle Characteristics

## Slide 8: Power Transformer
Equivalent Circuit

## Slide 11: Referring to two sides

## Slide 12: Determination of parameters/ OC Test

## Slide 13: Determination of parameters/ SC Test
Efficiency of Tr

## Slide 14: Per-Unit System
In the per-unit system, the voltages, currents, powers, impedances, and other electrical quantities are expressed on a per-unit basis by the equation:
Quantity per unit =
Actual value
Base value of quantity
Then compute base values for currents and impedances:

## Slide 15: Per-Unit System
And the per-unit system is:
Percent of base Z

## Slide 16: Example 1
An electrical lamp is rated 120 volts, 500 watts. If the voltage applied across the lamp is twice the rated value, compute the current that flows through the lamp. Use the per-unit method.
Solution:
The per-unit equivalent circuit is as follows:

## Slide 17: Per-unit System for 1-  Circuit
One-phase circuits
where

## Slide 18: Transformation Between Bases
Generally per-unit values given to another base can be converted to new base by the equations:
When performing calculations in a power system, every per-unit value must be converted to the same base.

## Slide 19: Per-unit System for 1- Transformer
Consider the equivalent circuit of transformer referred to LV side and HV side shown below:
(1) Referred to LV side
(2) Referred to HV side
Define

## Slide 20: Per-unit System for 1- Transformer
Choose:
Compute:
Normal choose rated values as base values

## Slide 21: Per-unit System for 1- Transformer
Per-unit impedances are:
So:
Per-unit equivalent circuits of transformer referred to LV side and HV side are identical !!

## Slide 22: Per-unit Eq. Ckt for 1- Transformer
Eq Ckt referred to LV side
Per-unit Eq Ckt referred to LV side

## Slide 23: Per-unit Eq. Ckt for 1- Transformer
Eq Ckt referred to HV side
Per-unit Eq Ckt referred to HV side .

## Slide 24: Example for 1- Transformer

## Slide 25: Example for 1- Transformer

## Slide 26: Voltage Regulation Example
A single-phase transformer rated 200-kVA, 200/400-V, and 10% short circuit reactance. Compute the VR when the transformer is fully loaded at unity PF and rated voltage 400-V.
Solution:

## Slide 27: Voltage Regulation Example
Rated voltage:

## Slide 28: Voltage Regulation Example
Secondary side:
Voltage regulation:

## Slide 29: Per-unit System for 3- Circuits
Three-phase circuits
where

## Slide 30: Per-unit System for 3- Circuits

## Slide 31: Change Between Two Bases
The impedances of generators, transformers and motors supplied by manufacturers are generally given in per-unit values on own ratings. For analysis all impedances must be expressed on common base

## Slide 32: Example #1 for 3- Transformer
Three 25-kVA, 34500/277-V transformer connected in -Y. Short-circuit test on high voltage side:
Determine the per-unit equivalent circuit of the transformer.

## Slide 33: Solution
(a) Using Y-equivalent

## Slide 34: Solution
So

## Slide 35: Solution
(b) Using -equivalent

## Slide 36: Per-unit System for 3- Transformer
So

## Slide 37: Example #2 for 3- Transformer

## Slide 38: Continue Solution of example # 2

## Slide 39: Problem 1
Select Vbase in generator circuit and Sb=100MVA, compute p.u. equivalent circuit.
G
20 kV
22kV/220kV
80MVA
14%
220kV/20kV
50MVA
10%
50MVA
0.8 PF lagging