## Slide 1
Sanitary Engineering
Water supply Engineering
By
Dr. Muhanad M. Abbas

## Slide 2
Design Period
Corrosion
Protection against Corrosion
Types of pipes
Types of Networks
TODAY TOPICS

## Slide 3
Design Periods
Source 50 years

## Slide 4
pipe line from source 25 years

## Slide 5
water treatment plant 10-15 year

## Slide 6
pumping plants
10 years

## Slide 7
Distribution system
10-15 years

## Slide 8
Corrosion

## Slide 9
Protection Against Corrosion

## Slide 10
Coating

## Slide 11
Types of Pipes

## Slide 12
Types of Networks