## Slide 1
د. احمد سليمان عبدالله
By Dr. Ahmed S. Abdullah
Sinusoidal Alternating Waveforms
AC Circuits

## Slide 2
Sinusoidal Alternating Waveforms

## Slide 3
Sinusoidal voltage Waveform
Peak amplitude: The maximum value of a waveform as measured from its average, or mean, value, denoted by uppercase letters [such as Em ]
Peak-to-peak value: Denoted by Ep-p or Vp-p the full voltage between positive and negative peaks of the waveform, that is, the sum of the magnitude of the positive and negative peaks.
Period (T ): The time of a periodic waveform.
Cycle: The portion of a waveform contained in one period of time.

## Slide 4
Sinusoidal voltage Waveform

## Slide 5
Sinusoidal voltage Waveform
Frequency ( f ): The number of cycles that occur in 1 s.
The unit of measure for frequency is the hertz (Hz), where

## Slide 6
Sinusoidal voltage Waveform
Frequency ( f ): The number of cycles that occur in 1 s.
The unit of measure for frequency is the hertz (Hz), where

## Slide 7
Sinusoidal voltage Waveform
EXAMPLE 1: For the sinusoidal waveform in Figure shown.
a. What is the peak value?
b. What is the instantaneous value at 0.3 s and 0.6 s?
c. What is the peak-to-peak value of the waveform?
d. What is the period of the waveform?
e. How many cycles are shown?
f. What is the frequency of the waveform?
Solutions:
a. 8 V.
b. At 0.3 s, 8 V; at 0.6 s, 0 V.
c. 16 V.
d. 0.4 s.
e. 3.5 cycles.
f. 2.5 cps, or 2.5 Hz.

## Slide 8
Sinusoidal voltage Waveform
The unit of measurement for the horizontal axis can be time, degrees, or radians.
The conversions equations between the two are the following:
The angular frequency in radians/s

## Slide 9
Sinusoidal voltage Waveform
Applying these equations, we find

## Slide 10
GENERAL FORMAT FOR THE SINUSOIDAL VOLTAGE

## Slide 11
GENERAL FORMAT FOR THE SINUSOIDAL CURRENT

## Slide 12
Phase Shift
If a sine wave does not pass through zero at t = 0 s as in Figure below, it has a phase shift. Waveforms may be shifted to the left or to the right.

## Slide 13
Phase Difference
Phase difference refers to the angular displacement between different waveforms of the same frequency.

## Slide 14
AVERAGE VALUE

## Slide 15
AVERAGE VALUE
EXAMPLE 2: Determine the average value of the sinusoidal waveform in Figure shown.
Solution: By inspection it is fairly obvious that
the average value of a pure sinusoidal waveform over one full cycle is zero.

## Slide 16
EFFECTIVE VALUES (RMS)
The equivalent dc value of a sinusoidal current or voltage is or 0.707 of its peak value.

## Slide 17
EFFECTIVE VALUES (RMS)
The equivalent dc value of a sinusoidal current or voltage is or 0.707 of its peak value.

## Slide 18
EFFECTIVE VALUES (RMS)
EXAMPLE 3: Find the rms values of the sinusoidal waveform in each part in Figure shown.
Solution:
For part (a),
For part (b),

## Slide 19
EFFECTIVE VALUES (RMS)
EXAMPLE 4: Determine the effective values (rms) of
Solution:
Since effective values depend only on magnitude,

## Slide 20
References
Boylestad, Robert L. Introductory circuit analysis. Pearson Education, 2010.
Robbins, Allan H., and Wilhelm C. Miller. Circuit analysis: Theory and practice. Cengage Learning, 2012.
Sadiku, Matthew NO, and Chales K. Alexander. Fundamentals of electric circuits. McGraw-Hill Higher Education, 2007.