## Slide 1
د. احمد سليمان عبدالله
By Dr. Ahmed S. Abdullah
The Circuit Elements in The Phasor Domain
AC Circuits

## Slide 2
AC Through Pure Ohmic Resistor Alone
The voltage and current of a resistive element are in phase

## Slide 3
AC Through Pure Ohmic Resistor Alone

## Slide 4
AC Through Pure Ohmic Resistor Alone
AVERAGE POWER AND POWER FACTOR
The instantaneous power (in watts) is the power at any instant of time.

## Slide 5
AC Through Pure Ohmic Resistor Alone
AVERAGE POWER AND POWER FACTOR
In a purely resistive circuit, since v and i are in phase, so that
Or since
Then

## Slide 6
AC Through Pure Ohmic Resistor Alone
AVERAGE POWER AND POWER FACTOR
The power factor is the cosine of the phase difference between voltage and current. It is also the cosine of the angle of the load impedance.
Angle is the angle between voltage and current. For a purely resistive load, the voltage and current are in phase, so that

## Slide 7
AC Through Pure Inductance Alone
For an inductor, VL leads iL by 90°, or iL lags VL by 90°.

## Slide 8
AC Through Pure Inductance Alone
This ratio is defined as Inductive Reactance and is given the symbol XL

## Slide 9
AVERAGE POWER AND POWER FACTOR
AC Through Pure Inductance Alone
For a purely inductive load, current lags voltage by 90°.

## Slide 10
AVERAGE POWER AND POWER FACTOR
AC Through Pure Inductance Alone
After some trigonometric manipulation,
this reduces to
For a purely inductive load, current lags voltage by 90°.

## Slide 11
AVERAGE POWER AND POWER FACTOR
AC Through Pure Inductance Alone
For a purely inductive load, current lags voltage by 90°.
The average power or power dissipated by the ideal inductor
(no associated resistance) is zero watts.

## Slide 12
AVERAGE POWER AND POWER FACTOR
The power factor is the cosine of the phase difference between voltage and current. It is also the cosine of the angle of the load impedance.
Angle is the angle between voltage and current. For a purely inductive load, current lags voltage by 90°, so that
AC Through Pure Inductance Alone

## Slide 13
AC Through Pure Capacitor Alone
For an capacitor, iC leads VC by 90°, or VC lags iC by 90°.

## Slide 14
This ratio is defined as Capacitive Reactance and is given the symbol XC
AC Through Pure Capacitor Alone

## Slide 15
AVERAGE POWER AND POWER FACTOR
For a purely Capacitive load, current leads voltage by 90°.
AC Through Pure Capacitor Alone

## Slide 16
AVERAGE POWER AND POWER FACTOR
After some trigonometric manipulation,
this reduces to
For a purely Capacitive load, current leads voltage by 90°.
AC Through Pure Capacitor Alone

## Slide 17
AVERAGE POWER AND POWER FACTOR
For a purely Capacitive load, current leads voltage by 90°.
The average power or power dissipated by the ideal capacitor (no associated resistance) is zero watts.
AC Through Pure Capacitor Alone

## Slide 18
AVERAGE POWER AND POWER FACTOR
The power factor is the cosine of the phase difference between voltage and current. It is also the cosine of the angle of the load impedance.
Angle is the angle between voltage and current. For a purely Capacitive load, current leads voltage by 90°, so that
AC Through Pure Capacitor Alone

## Slide 19
Complex Numbers
A complex number represents a point in a two-dimensional plane located with reference to two distinct axes. This point can also determine a radius vector drawn from the origin to the point. The horizontal axis is called the real axis, while the vertical axis is called the imaginary axis.

## Slide 20
Complex Numbers
Rectangular Form
The format for the rectangular form is
Where
is the complex number
X is the real part of Z (Re(Z))
Y is the imaginary part of Z (Im(Z))
j

## Slide 21
Complex Numbers
Polar Form
The format for the Polar form is
Where
Z is the magnitude of
is the angle of with the real axis

## Slide 22
Complex Numbers
Conversion Between Forms
Rectangular to Polar

## Slide 23
Complex Numbers
Conversion Between Forms
Rectangular to Polar
EXAMPLE : Convert the following from rectangular to polar form:

## Slide 24
Complex Numbers
Conversion Between Forms
Polar to Rectangular

## Slide 25
Complex Numbers
Conversion Between Forms
Polar to Rectangular
EXAMPLE : Convert the following from polar to rectangular form:

## Slide 26
Complex Numbers
Mathematical Operations With Complex Numbers

## Slide 27
Complex Numbers
Mathematical Operations With Complex Numbers
Addition and Subtraction

## Slide 28
Complex Numbers
Mathematical Operations With Complex Numbers
Addition and Subtraction

## Slide 29
Complex Numbers
Mathematical Operations With Complex Numbers
Addition and Subtraction
Addition or subtraction cannot be performed in polar form unless the complex numbers have the same angle or unless they differ only by multiples of 180°.

## Slide 30
Complex Numbers
Mathematical Operations With Complex Numbers
Multiplication
Rectangular
.
. +
. +

## Slide 31
Complex Numbers
Mathematical Operations With Complex Numbers
Multiplication
Rectangular
.
.
.

## Slide 32
Complex Numbers
Mathematical Operations With Complex Numbers
Multiplication
Polar
. +

## Slide 33
Complex Numbers
Mathematical Operations With Complex Numbers
Multiplication
Polar
. +
.
. +

## Slide 34
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular
We rationalize the denominator by multiplying both the numerator and denominator by

## Slide 35
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular

## Slide 36
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular

## Slide 37
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular

## Slide 38
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular

## Slide 39
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular

## Slide 40
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Rectangular

## Slide 41
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Polar

## Slide 42
Complex Numbers
Mathematical Operations With Complex Numbers
Division
Polar

## Slide 43
IMPEDANCE
Resistive Elements
The voltage and current of a resistive element are in phase
Applying Ohm’s law and using phasor algebra, we have

## Slide 44
IMPEDANCE
Resistive Elements
The quantity ZR , having both magnitude and an associated angle, is referred to as the impedance of a resistive element.
The voltage and current of a resistive element are in phase

## Slide 45
IMPEDANCE
Inductive Reactance
For a purely inductive load, voltage leads current by 90°.

## Slide 46
IMPEDANCE
Inductive Reactance
The quantity ZL , having both magnitude and an associated angle, is referred to as the impedance of a inductive element.
For a purely inductive load, voltage leads current by 90°.

## Slide 47
IMPEDANCE
Capacitive Reactance
For a purely capacitive load, current leads voltage by 90°.

## Slide 48
IMPEDANCE
The quantity ZC , having both magnitude and an associated angle, is referred to as the impedance of a capacitive element.
Capacitive Reactance
For a purely capacitive load, current leads voltage by 90°.

## Slide 49
Summary of parameters for R, L , and C
 | R | L | C
Phase difference | 0 | 90o leads or lags | 90o lags or leads
Reactance |  |  | 
Average power |  | 0 | 0
Power factor | 1 | 0 | 0
impedance |  |  | 
 | R | L | C
Reactance |  |  | 
 |  | 0 | 0
 | 1 | 0 | 0
impedance |  |  | 
Element
Parameter

## Slide 50
References
Boylestad, Robert L. Introductory circuit analysis. Pearson Education, 2010.
Robbins, Allan H., and Wilhelm C. Miller. Circuit analysis: Theory and practice. Cengage Learning, 2012.
Sadiku, Matthew NO, and Chales K. Alexander. Fundamentals of electric circuits. McGraw-Hill Higher Education, 2007.