Republic of Iraq

The Ministry Of Higher Education

& Scientific Research

University: Diayla

College: Engineering

Department: Electrecal power & Machines Eng.

Stage: third

Lecturer name: Ghassan A. Salman

Qualification:

Place of work;

Flow up of implementation celli pass play

| Course Instructor | Ghassan Abdullah Salman |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| E-mail | gassan_power@yahoo.com |  |  |  |  |
| Title | High Voltage Engineering |  |  |  |  |
| Course Coordinator |  |  |  |  |  |
| Course Objective |  |  |  |  |  |
| Course Description | AC, DC, and impulse high voltages. Voltage measurements by spark gaps, sphere gaps, uniform field gaps, electrostatic voltmeters, voltage dividers. |  |  |  |  |
| Textbook | High Voltage Engineering Fundamentals by E. Kuffel, W.S. Zaengl & J. Kuffel |  |  |  |  |
| References | High Voltage Engineering by C.L. WADHWA High Voltage Engineering by M. S. Naidu & V. Kamaraju |  |  |  |  |
| Course Assessments | Term Tests | Homeworks | Quizzes | Project | Final Exam |
|  | As(20%) | As(10%) | As(10%) | - | As(60%) |
| General Notes |  |  |  |  |  |

University: Diyala

College: Engineering

Department: Electrecal power & Machines

Stage: third

Lecturer name: Ghassan A. Salman

Qualification:

Place of work;

Republic of Iraq

The Ministry Of Higher Education

& Scientific Research

Course Weekly Outline

| Week | Date |  | Topes Covered | Lab. Experiment Assignments | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | 4\10\2016 |  | Generation of high voltages, Direct voltages, Electrostatic generators |  |  |
| 2 | 11\10\2016 |  | Half-wave Rectifier Circuit, Cockroft-Walton Voltage Multiplier Circuit |  |  |
| 3 | 18\10\2016 |  | Alternating voltages, Testing transformers, |  |  |
| 4 | 25\10\2016 |  | Series resonant circuits |  |  |
| 5 | 1\11\2016 |  | Impulse voltage generator circuits |  |  |
| 6 | 8\11\2016 |  | Operation, design and construction of impulse generators |  |  |
| 7 | 15\11\2016 |  | Measurement of high voltages by spark gaps, sphere gaps |  |  |
| 8 | 22\11\2016 |  | Uniform field gaps, electrostatic voltmeters, voltage dividers |  |  |
| 9 | 29\11\2016 |  | The Chubb–Fortescue method, High-voltage capacitors for measuring circuits |  |  |
| 10 | 6\12\2016 |  | Electrical breakdown in gases, Classical gas laws, Distribution of free paths |  |  |
| 11 | 13\12\2016 |  | Townsend second ionization coefficient, The Townsend mechanism |  |  |
| 12 | 20\12\2016 |  | The sparking voltage–Paschen’s law, breakdown in uniform and non-uniform fields |  |  |
| 13 | 27\12\2016 |  | Partial breakdown, corona discharges, Polarity effect, Surge breakdown voltage |  |  |
| 14 | 3\1\2017 |  | Breakdown in solids, Electromechanical breakdown, Thermal breakdown |  |  |
| 15 | 10\1\2017 |  | Breakdown in liquids, Electronic breakdown, Cavity breakdown |  |  |
| 16 | 21\2\2017 | Overvoltages, testing procedures and insulation coordination |  |  |  |
| 17 | 28\2\2017 | The lightning mechanism, simulated lightning surges for testing |  |  |  |
| 18 | 7\3\2017 | Insulation coordination, Modern power systems protection devices |  |  |  |
| 19 | 14\3\2017 | Electrostatic fields and field stress control |  |  |  |
| 20 | 28\3\2017 | Electrical field distribution and breakdown strength of insulating materials |  |  |  |
| 21 | 4\4\2017 | Fields in homogeneous, isotropic materials, Field distortions by conducting particles |  |  |  |
| 22 | 11\4\2017 | Fields in multidielectric, isotropic materials, Stress control by floating screens |  |  |  |
| 23 | 18\4\2017 | Numerical methods, Finite difference method, Finite element method |  |  |  |
| 24 | 25\4\2017 | Dynamic properties of dielectrics, Dielectric loss and capacitance measurements |  |  |  |
| 25 | 2\5\2017 | Partial-discharge measurements, Measuring systems for apparent charge |  |  |  |
| 26 | 9\5\2017 | Design and testing of external insulation, Operation in a contaminated environment |  |  |  |
| 27 | 16\5\2017 | Design of insulators, Ceramic insulators, Polymeric insulators |  |  |  |
| 28 | 23\5\2017 | Ground Wires, Surge Protection of Rotating Machine |  |  |  |
| 29 | 30\5\2017 | Activities and Studies in High Voltage Laboratories |  |  |  |

INSTRUCTOR Signature:

Assist Lafta Esmaeel Jumaa Al-Qaisy