## Slide 1: ELECTROMAGNETIC FIELDS
LECTURE:
MAGNETIC FORCES, MATERIALS, AND DEVICES
8.8 INDUCTORS AND INDUCTANCES

## Slide 2: Self-Inductance of a circuit ():
A circuit (or closed conducting path) carrying current produces a magnetic field B which causes a flux to pass through each turn of the circuit (Fig. 8.16). If the circuit has identical turns, we define the flux linkage as
If the medium surrounding the circuit is linear, the flux linkage is proportional to the current producing it; that is, or
is a constant of proportionality called the inductance of the circuit in henry () which is the same as Wamps. A circuit or part of a circuit that has inductance is called an inductor.

## Slide 3
Inductance of an inductor: is define as the ratio of the magnetic flux linkage to the current through the inductor;
The magnetic energy (joules) stored in an inductor is as:

## Slide 4: Mutual inductance ():
If two circuits carrying current and as in Fig. 8.17, a magnetic interaction exists between the circuits. Four component fluxes , , , and are produced. The flux , is the flux passing through circuit 1 due to current in circuit 2. If in the field due to and is the area of circuit 1, then
Mutual inductance : is define as the ratio of the flux linkage on circuit 1 to current , that is,

## Slide 5
Figure 8.18 Magnetic interaction between two circuits.

## Slide 6
Similarly, the mutual inductance is defined as the flux linkages of circuit 2 per unit current ; that is,
in the absence of ferromagnetic material
the self-inductance of circuits 1 and 2, respectively, as
Where

## Slide 7
The total energy in the magnetic field is the sum of the energies due to , and (or ); that is,
The positive sign is taken if the magnetic fields of the two circuits strengthen each other and negative sign is taken if the magnetic fields oppose each other.
In an inductor such as a coaxial or a parallel-wire transmission line, the inductance produced by the flux internal to the conductor is called the internal inductance , while that produced by the flux external to it is called external inductance . The total inductance is

## Slide 8: 8.9 MAGNETIC ENERGY
The energy is stored in the magnetic field of the inductor.
To express equation (8.56) in terms of B or H consider a differential volume in a magnetic field as in Fig. 8.19. Let the volume be covered with conducting sheets at the top and bottom surfaces with current .

## Slide 9
Fig. 8.19 A differential volume in a magnetic field.

## Slide 10
We assume that the whole region is filled with such differential volumes. From equation (8.55), each volume has an inductance
where . Substituting equation (8.64) into eq. (8.56), we have
or

## Slide 11
The magnetostatic energy density () is defined as
Thus the energy in a magnetostatic field in a linear medium is

## Slide 12: Table 8.2 a collection of formulas for inductance of common elements

## Slide 13: 8.10 MAGNETIC CIRCUITS
Magnetic devices such as toroids, transformers, motors, generators, and relays may be considered as magnetic circuits. The analysis of such circuits is made simple if an analogy between magnetic circuits and electric circuits is exploited. The analogy between magnetic and electric circuits is summarized in table 8.3 and portrayed in Figure 8.20.
We define the magnetomotive force (mmf) (in ampere-turns) as
We also define reluctance (in ampere-turnsweber) as

## Slide 14
Electric Field | Magnetic Field
Conductivity Field intensity Current Current density Electromotive force (emf) Resistance Conductance Ohm's law or Kirchoff's laws: | Permeability Field intensity Magnetic flux Flux density Magnetomotive force (mmf) Reluctance Permeance Ohm's law or Kirchhoff's laws:
Electric Field | Magnetic Field
Table 8.3: Analogy between Electric and Magnetic Circuits

## Slide 15
The basic relationship for circuit elements is Ohm's law ():
The rules of adding voltages and for combining series and parallel resistances also hold for mmfs and reluctances. for magnetic circuit elements in series
and
For magnetic circuit elements in parallel,
and

## Slide 16
Figure 8.20 Analogy between (a) an electric circuit, and (b) a magnetic circuit.

## Slide 17: 8.11 FORCE ON MAGNETIC MATERIALS
The magnetic force is useful in electromechanical systems such as electromagnets, relays, rotating machines, and magnetic levitation. Consider, an electromagnet made of iron as shown in Fig. 8.21.

## Slide 18
The work required to effect the displacement is equal to the change in stored energy in the air gap is:
where
S is the cross-sectional area of the gap,
the factor 2 accounts for the two air gaps, and
the negative sign indicates that the force acts to reduce the air gap (or that the force is attractive). Thus

## Slide 19
The tractive force across a single gap can be obtained from eq. (8.75) as
Equation (8.77) can be used to calculate the forces in many types of devices including relays, rotating machines, and magnetic levitation.
The tractive pressure (in ) in a magnetized surface is
Which is the same as the energy density in the air gap.

## Slide 20
Figure 8.22 B-H curves, .

## Slide 21
Figure 8.23 B-H curves,