## Slide 1: The Solar Energy Dr . Raghad Al-journi
Electrical power and machine engineering department

## Slide 2
2
PV Characteristics

## Slide 3
3

## Slide 5
4

## Slide 6
5
1-On – grid solar PV system
Types of solar PV systems

## Slide 7
6
2-Off – grid solar PV system

## Slide 8
3-Battery Backup system
7
Backup solar pv system

## Slide 9
4-Portable solar PV system
8

## Slide 10
10

## Slide 11
1- Select the type of system required.
2- Select the loads required type.
Specification of any solar panels depends on the system:
3-Select the type and capacity of invertor .
4-Select the type and capacity of batteries.
5-Select the size of the panels necessary for the system.
6-Balance of system .
11

## Slide 12
Hours per day used | No. | Rated power(W) | Appliance
8 12 6 6 5 0.8 0.025 | 6 4 1 1 1 1 1 | 180 180 200 20 500 1500 1500 4080 W | 30w light 45w fan TV Satellite TV Refrigerator Washer Toaster
Maximum AC Power Requiement
12

## Slide 13
13

## Slide 14
14

## Slide 15
15

## Slide 16
16

## Slide 17
17

## Slide 18
No of panel=4080/305 =13.3=14 panels
Connect 7S2P Pmax = 4270w (STC)
Vocmax = Voc(1+Tcmin -25) (∆voc/∆c))
Vmmin = Voc(1+Tcmax -25) (∆voc/∆c))
Tc=Ta +(NOCT-20)G/0.8
G=0 at sunrise
G=1 at noon
NOCT =47 Tcmax=50 +(47-20)1/0.8=84 C
Vocmax = 45.29(1+(-1-25)(-0.0311)=52V
Vm-min =35.77(1+(50-25)(-0.044))=26V
18

## Slide 19
Tcmin =-1 C Tcmax =84 C
Voc max=52V Vmmin =26V
Voc max(t) =52*7=364V
Vm min(t) =26*7=182V
Inverter cost= $2299
Panels cost =$5104
Rack mount price =$1088
Wiring and protection =$500
Installation =$300
Total approx= $9291
19

## Slide 20
Thank you for your attention！