## Slide 1
Dr . Raghad Al-journi
Use of solar power systems

## Slide 2
Sun (solar) energy, including solar thermal energy and photovoltaic
(PV)
Biofuel
Wind power
Hydro power
Geothermal power
Wave power from the oceans and seas.
There are many types of renewable energy sources, the six most common are:
1

## Slide 3
2

## Slide 4
100% Renewable Energy Energy Mix
3

## Slide 5
4

## Slide 6
5

## Slide 7
Highly influenced by weather conditions
6

## Slide 8
Solar Thermal Technologies Suitable For Iraq
1- Parabolic Trough Designs
2- Solar Thermal Power Tower
3- Photovoltaic (PV) Technology
4- Dish Stirling System
7

## Slide 9
Daily average solar radiation for different regions Iraq, kW · h / m2
8

## Slide 10
Variation of solar radiation intensity in three Iraqi governorates, Baghdad, Mosul and Basrah, for one year period.
9

## Slide 11
Features of PV
10

## Slide 12
Types of solar cell
11

## Slide 13
12

## Slide 14
Simplified diagram of an equivalent circuit for a loaded solar cell (no-load , R= ; shorted, R=0). IPh is
proportional to irradiance G and solar cell area
Equivalent Circuit of a Solar Cell
IPh =photocurrent ( G)=solar cell short-circuit current ISC
IS =saturation current in the reverse direction
13

## Slide 15
Characteristic curves I=f(V) and P=f(V) of a monocrystalline silicon solar cell with a cell area of approximately 102 cm2, irradiance G amounting to
1 kW/m2 and 25 C cell temperature
Characteristic curves I=f(V) for the solar cell cell temperature of 25 C and irradiance G as a parameter AM1.5
14

## Slide 16
Efficiency of the monocrystalline Si solar cell at a cell temperature of 25 C, as a function of irradiance G AM1.5
Characteristic curves I=f(V) for the solar cell, with irradiance G=1 kW/m2 AM1.5 and with cell temperature as parameter
15

## Slide 17
16

## Slide 18
17

## Slide 19
18

## Slide 20
19

## Slide 21
20

## Slide 22
21

## Slide 23
22

## Slide 24
PV Direct System
Solar Water Pumping in Agriculture
pump
tank
pv
23

## Slide 25
24

## Slide 26
Small DC
25

## Slide 27
Off Grid Connected PV Systems with Battery Storage
27

## Slide 28
Off Grid Connected PV System for Street Lighting
28

## Slide 29
Off Grid Connected PV System for Communication station
29

## Slide 30
30

## Slide 31
Large DC
31

## Slide 32
Large AC/DC
32

## Slide 33
Off Grid Connected PV System for Building
33

## Slide 34
Off- Grid Centralized Solar System for Electric Power Distribution
34

## Slide 35
Diagram of Photovoltaic of Hybrid System
35

## Slide 36
Hybrid System
36

## Slide 37
On – grid solar PV system
37

## Slide 38
Aerial view of the 5MWp Land PV installation
Partial view of an array
on the roof
38

## Slide 39
Aerial view of two of the three 50MW solar thermal power plants in southern Spain
View of half of the installation’s 1.13kWp
solar generator, which is mounted on
theResearch Station (HFSJG, 3454 m, 46.5N). Two insolation sensors (areference cell and a heated
pyranometer) are visible on the right
39

## Slide 40
THANK YOU